## Slide 1
Challenges of Delivering a Complex Refurbishment Project within a Live Hospital Environment

## Slide 2: Stakeholders
Patient
Clinical
Non-Clinical
WelshGovt
SCP
Estates
Facilities
Catering
Porters
Security
General Medical Council
Royal College Nursing
Ambulance Service
Community Health Councils
SCMs
Suppliers
Designers
Deaneries
Politicians
Public
NWSSP
Unions
Family
Friends
Carers
Shareholders
Notes: Patient – paramount
  Only exist to serve the need of the Patient
    Patient experience to be considered not just the administering of care
      Wayfinding
Clinical staff
  Need to be unimpeded in caring for the Patient and undisturbed in their
Non-clinical staff

## Slide 3
Subheading (if any)
Main text here
Prince Charles Hospital
Built 1972-75
  Cost £4M
District General Hospital
Circa 400 beds
Year 22/23
  A&E – 59,286 attendances
    (162 / day)
  Outpatients – 97,139
    (372 / day)
  Inpatients – 28,110
    (77 / day)
  Babies born – 2,483
    (7 / day)

## Slide 4
Heading (if any)
Subheading (if any)
Main text here
Ground Floor

## Slide 5
Heading (if any)
Subheading (if any)
Main text here
First Floor

## Slide 6
Heading (if any)
Subheading (if any)
Main text here
Parking
  Patient (Ambulant/Disabled)
  Staff
  Contractor
Deliveries
  Hospital
  Site
Ambulance
  Land & Air
  Blue light priority
Public Transport
  Schedules
Routes
  Safe and segregated
Wayfinding
  Visible & understandable
Logistics

## Slide 7
Heading (if any)
Subheading (if any)
Main text here
Perception
Sight
  Discreet
  Cleanliness
Infection control
  Aspergillus
Well-being
  Art work
Noise
  Tolerable
Reverberation
  Affects instrumentation
Smell
  Air monitoring
  Gases

## Slide 8
Heading (if any)
Subheading (if any)
Main text here
Infrastructure
  Fragile
  Compromising
Records
  None / inaccurate / dated
Capacity
  Limited
Isolations
  Lack of understanding
  Diversions / enabling works
Policies
  Control of Contractors
  Permits to work
Asbestos
  Inhibiting
Estate

## Slide 9
Heading (if any)
Subheading (if any)
Main text here
Maintenance
  Flushing / Legionella
Fire detection
  Unnecessary call-outs
Security
  Climbers / Jumpers
Access
  Emergencies
Commissioning
  Pre-emptive / scheduled
Defects
  Disruptive
  Statutory maintenance
Construction

## Slide 10
Communication
Relationships
Honesty
Success

## Slide 11
Diolch yn fawr

## Slide 13
Heading (if any)
Subheading (if any)
Main text here

## Slide 14
Heading (if any)
Subheading (if any)
Main text here

## Slide 15
Heading (if any)
Subheading (if any)
Main text here

## Slide 16
Heading (if any)
Subheading (if any)
Main text here

## Slide 17
Heading (if any)
Subheading (if any)
Main text here